## 1 Reclamation and O&M costs
Cobre Mining Company
Water Management Cost Estimate | [16 empty] | Water Management Worksheet #1
2014-10-08
Variables
|  | Description | [8 empty] | Variable
|  | RSMeans NM Discount Rate | [8 empty] | 0.847
|  | Steel Tank Life Expectancy (yr) | [8 empty] | 50
|  | Lined Pond Life Expectancy (yr) | [8 empty] | 30
|  | Small Concrete Dam Life Expectancy (yr) | [8 empty] | 50
|  | Pump Life Expectancy (yr) | [8 empty] | 20
|  | HDPE Pipeline Life Expectancy (yr) | [8 empty] | 100
|  | Pump / Motor Efficiency | [8 empty] | 0.7
|  | Reclaim Pond Pump Fuel Consumption Rate (gal/hr) | [8 empty] | 1
|  | Chezy Head Loss Coefficient | [8 empty] | 150
|  | Power Pole Spacing (ft) | [8 empty] | 100
|  | Annual Pond Maintenance to Capital Factor | [8 empty] | 1.5%
|  | Annual Pump Maintenance to Capital Factor | [8 empty] | 1.5%
|  | Annual Pipeline Maintenance to Capital Factor | [8 empty] | 1%
|  | Annual Electrical Infrastructure Maintenance to Capital Factor | [8 empty] | 1.5%
|  | Estimated average stormwater runoff non-revegetated (CN=85, gal/year/acre) | [8 empty] | 48154.9702
|  | Estimated average stormwater runoff, after 12-year vegetation establishment period (Condition 87 CN=62, gal/year/acre) | [8 empty] | 2530.095
|  | Spreadsheet Year (2014) | [8 empty] | -6
|  | Reclamation Start Year (2020) | [8 empty] | 0
|  | Reclamation Finished | [8 empty] | 5
|  | Vegetation Established Assume stormwater released | [8 empty] | 12
Ponds / Tanks
Location |  |  | Construction Type | Capacity (gallons) | Capacity (cy) | Pond Area (acres) | Age Today (yr) | Age at Reclamation (yr) | Removal Year** (yr) | First Replacement Year (yr) | Number of Replacements | Direct Cost New and Replacement ($/ea) | Direct Cost New and Replacement ($) | Direct Cost Maintenance Ponds Closed Post Closure ($/yr) | Direct Cost Maintenance Ponds Closed Post Closure ($) | Direct Cost ($)
SWRF Dam 1 (181-2003-Dam 1) |  |  | concrete dam, unlined | 1116800 | 5529.8079 | - | 15 | 21 | 12 | - | 0 | 69454 | 0 | 1041.81 | 13543.53 | 13543.53
SWRF Dam 2 (181-2003-Dam 2) |  |  | concrete dam, unlined | 827700 | 4098.3363 | - | 15 | 21 | 12 | - | 0 | 69454 | 0 | 1041.81 | 13543.53 | 13543.53
SWRF Dam 3 (181-2003-Dam 3) |  |  | concrete dam, unlined | 2925300 | 14484.5514 | - | 15 | 21 | 12 | - | 0 | 69454 | 0 | 1041.81 | 13543.53 | 13543.53
Decant Pond #4 |  |  | HDPE lined | 972500 | 4815.31 | 0.62 | 15 | 21 | 12 | 9 | 1 | 125249.678 | 125249.678 | 1878.7452 | 24423.6872 | 149673.3652
Upper Creek Containment Pond #1 |  |  | HDPE lined | 1879200 | 9304.8128 | 1.13 | 25 | 31 | 12 | 0 | 1 | 229069.4568 | 229069.4568 | 3436.0419 | 44668.5441 | 273738.0009
Grape Gulch Pond #3 |  |  | HDPE lined | 911600 | 4513.7651 | 0.38 | 25 | 31 | 12 | 0 | 1 | 79106.7472 | 79106.7472 | 1186.6012 | 15425.8157 | 94532.5629
Blackman's Seep (Pond #2) |  |  | unlined | 25000 | 123.7869 | - | 25 | 31 | 9 | 0 | 1 | 185.4542 | 185.4542 | 2.7818 | 27.8181 | 213.2724
Surge Tank*** |  |  | steel | 352500 | 1745.3951 | - | 45 | 51 | 12 | 0 | 1 | 171094 | 171094 | 2566.41 | 33363.33 | 204457.33
Magnetite Seepage Pond |  |  | HDPE lined | 9600 | 47.5342 | 0.2 | 25 | 31 | 12 | 0 | 1 | 38147.1847 | 38147.1847 | 572.2078 | 7438.701 | 45585.8857
East WRF Containment |  |  | concrete | 900000 | 4456.328 | 0.5 | -5 | 1 | 12 | - | 0 | 101866.2785 | 0 | 1527.9942 | 19863.9243 | 19863.9243
*Reclaim Pond and North Tailings Decant require no maintenance beyond what is already included in the Earthwork cost estimate for the site as a whole. | [10 empty] | Direct Annual Costs: | - | - | 14296.212 | - | -
**Removal costs are included in earthwork portion of the cost estimate. | [10 empty] | Direct Cost Subtotals: | - | 642852.5209 | - | 185842.4104 | 828694.9313
***Surge Tank is Industrial PMLU.
Pumps
From | To | Number | Age Today (yr) | Age at Reclamation (yr) | Removal Year (yr) | First Replacement Year (yr) | Number of Replacements | Average Combined Operational Pumping Rate (gpm) | Starting Elevation (ft) | Maximum Elevation (ft) | Head Loss (ft) | Head on Pump (ft) | Power (HP) | Operational Kilowatts (kW) | Stormwater Capture Area, Pumped Water only (acres) | Average Seepage through Reclamation year 5 (gal/year) | Direct Pump Cost New and Replacement ($/replacement)
SWRF Dam 1 (181-2003-Dam 1) | SWRF Dam 3 (181-2003-Dam 3) | 2 | 11 | 17 | 12 | 3 | 1 | 1760 | 6650 | 6719 | 60.5409 | 129.5409 | 82.2482 | 61.3325 | 120.9 | 0 | 60000
SWRF Dam 2 (181-2003-Dam 2) | SWRF Dam 3 (181-2003-Dam 3) | 2 | 11 | 17 | 12 | 3 | 1 | 1940 | 6613 | 6715 | 53.5647 | 155.5647 | 108.8729 | 81.1865 | 48.7 | 0 | 60000
SWRF Dam 3 (181-2003-Dam 3) | Bullfrog pipeline | 2 | 11 | 17 | 12 | 3 | 1 | 940 | 6556 | 6745 | 11.2185 | 200.2185 | 67.8952 | 50.6294 | 96.9 | 0 | 50000
Decant Pond #4 | Booster Pump 2 | 2 | 20 | 26 | 12 | 0 | 1 | 3000 | 6688 | 6700 | 0.50573 | 12.5057 | 13.5343 | 10.0926 | 0 | 18001800 | 50000
Booster Pump 2 | Surge Tank | 2 | 20 | 26 | 12 | 0 | 1 | 3000 | 6700 | 6925 | 9.791 | 234.791 | 254.1028 | 189.4845 | 0 | 0 | 50000
Decant Pond #4 | Reclaim Pond | 2 | 20 | 26 | 5 | 0 | 1 | 1760 | 6688 | 7000 | 30.7209 | 342.7209 | 217.6006 | 162.2647 | 0 | 0 | 60000
Magnetite Interceptor Trench | Magnetite Tailings Seepage Pond | 1 | 20 | 26 | 5 | 0 | 1 | 100 | 6670 | 6695 | 0.39217 | 25.3922 | 0.91602 | 0.68308 | 0 | 146642.562 | 15000
Magnetite Seepage Pond | Decant Pond #4 | 2 | 20 | 26 | 12 | 0 | 1 | 100 | 6695 | 6750 | 6.898 | 61.898 | 2.233 | 1.6651 | 13.1 | 0 | 30000
Estrada Seep | Decant Pond #4 | 2 | 5 | 11 | 5 | - | 0 | 45 | 6575 | 6688 | 18.6427 | 131.6427 | 2.1371 | 1.5936 | 0 | 762541.3224 | 20000
Union Hill Adit Seep | Decant Pond #4 | 2 | 5 | 11 | 5 | - | 0 | 30 | 6575 | 6688 | 95.7755 | 208.7755 | 2.2595 | 1.6849 | 0 | 169453.6272 | 20000
Upper Creek Containment Pond #1 | Surge Tank | 2 | 20 | 26 | 12 | 0 | 1 | 1980 | 6810 | 6925 | 358.1209 | 473.1209 | 337.9435 | 252.0045 | 53.7 | 0 | 60000
Grape Gulch Pond #3 | Surge Tank | 2 | 20 | 26 | 12 | 0 | 1 | 1100 | 6775 | 6925 | 14.487 | 164.487 | 65.2726 | 48.6738 | 6.5 | 0 | 60000
Blackman's Seep (Pond #2) | Upper Creek Containment Pond 1 | 1 | 20 | 26 | 9 | 0 | 1 | 125 | 6775 | 6810 | 0.2963 | 35.2963 | 1.5916 | 1.1869 | 0 | 0 | 15000
Surge Tank | Reclaim Pond | 2 | 6 | 12 | 9 | 8 | 1 | 3497 | 6925 | 7000 | 26.3453 | 101.3453 | 127.8515 | 95.3389 | 0 | 0 | 60000
Reclaim Pond | Surge Tank | 1 | 6 | 12 | 5 | - | 0 | 1240 | 7000 | 7010 | 45.6453 | 55.6453 | 24.8919 | 18.5619 | 316.1 | 0 | 30000
East WRF Containment | Decant Pond #4 | 2 | -5 | 1 | 12 | - | 0 | 2000 | 6560 | 6688 | 69.9442 | 197.9442 | 142.8169 | 106.4985 | 69.8 | 423634.068 | 20000
tailings pipeline flushing
Mill No 1 | Tailings Impoundment Top | 1 | [5 empty] | 4318 | 6825 | 7000 | 13.222 | 188.222 | 293.1972 | 218.6372
Mill No 2 | Tailings Impoundment Top | 1 | [5 empty] | 4318 | 6950 | 7000 | 13.222 | 63.222 | 98.4822 | 73.4382
*Surge tank to bullfrog pipeline is gravity fed and thus pumping costs are not included.
Pumps (continued) |  | Post Closure Pre Completed Reclamation (Through Reclamation Year 5) |  |  |  |  | Post Closure Post Completed Reclamation (Reclamation Year 6 to 12)
From | To | Average Pumping Rate (gal/yr) | Operating Time (hr/yr) | Annual Electrical Usage (kWh/yr) | Direct Annual Operational Cost ($/yr) | Direct Operational Cost ($) | Average Pumping Rate (gal/yr) | Operating Time (hr/yr) | Annual Electrical Usage (kWh/yr) | Direct Annual Operational Cost ($/yr) | Direct Operational Cost ($) | Direct Pump Cost New and Replacement ($) | Direct Cost Maintenance ($/yr) | Direct Cost Maintenance ($) | Direct Cost Removal ($) | Direct Cost ($) | Direct Cost Electricity and Fuel ($)
SWRF Dam 1 (181-2003-Dam 1) | SWRF Dam 3 (181-2003-Dam 3) | 5821935.8914 | 55.132 | 3381.3799 | 198.487 | 1190.922 | 305888.486 | 2.8967 | 177.66 | 10.4286 | 73.0005 | 60000 | 900 | 11700 | 10000 | 81700 | 1263.9225
SWRF Dam 2 (181-2003-Dam 2) | SWRF Dam 3 (181-2003-Dam 3) | 2345147.0464 | 20.1473 | 1635.6894 | 96.015 | 576.0898 | 123215.6267 | 1.0586 | 85.9402 | 5.0447 | 35.3128 | 60000 | 900 | 11700 | 10000 | 81700 | 611.4027
SWRF Dam 3 (181-2003-Dam 3) | Bullfrog pipeline | 12833299.5455 | 227.5408 | 11520.2583 | 676.2392 | 4057.435 | 8412249.1437 | 149.1534 | 7551.5484 | 443.2759 | 3102.9312 | 50000 | 750 | 9750 | 10000 | 69750 | 7160.3662
Decant Pond #4 | Booster Pump 2 | 23496118.6052 | 130.534 | 1317.4222 | 77.3327 | 463.9961 | 5494318.6052 | 30.524 | 308.0652 | 18.0834 | 126.584 | 50000 | 750 | 9750 | 10000 | 69750 | 590.5801
Booster Pump 2 | Surge Tank | 23496118.6052 | 130.534 | 24734.1649 | 1451.8955 | 8711.3729 | 23496118.6052 | 130.534 | 24734.1649 | 1451.8955 | 10163.2683 | 50000 | 750 | 9750 | 10000 | 69750 | 18874.6412
Decant Pond #4 | Reclaim Pond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000 | 900 | 5400 | 10000 | 75400 | 0
Magnetite Interceptor Trench | Magnetite Tailings Seepage Pond | 146642.562 | 24.4404 | 16.6947 | 0.97998 | 5.8799 | 146642.562 | 24.4404 | 16.6947 | 0.97998 | 0 | 15000 | 225 | 1350 | 5000 | 21350 | 5.8799
Magnetite Seepage Pond | Decant Pond #4 | 777472.671 | 129.5788 | 215.7654 | 12.6654 | 75.9926 | 179786.8066 | 29.9645 | 49.8947 | 2.9288 | 20.5017 | 30000 | 450 | 5850 | 10000 | 45850 | 96.4943
Estrada Seep | Decant Pond #4 | 762541.3224 | 282.4227 | 450.0698 | 26.4191 | 158.5146 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 1800 | 10000 | 11800 | 158.5146
Union Hill Adit Seep | Decant Pond #4 | 169453.6272 | 94.1409 | 158.6171 | 9.3108 | 55.8649 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 1800 | 10000 | 11800 | 55.8649
Upper Creek Containment Pond #1 | Surge Tank | 2585921.8972 | 21.767 | 5485.3865 | 321.9922 | 1931.9531 | 135866.1017 | 1.1437 | 288.206 | 16.9177 | 118.4238 | 60000 | 900 | 11700 | 10000 | 81700 | 2050.3769
Grape Gulch Pond #3 | Surge Tank | 313007.306 | 4.7425 | 230.8372 | 13.5501 | 81.3008 | 16445.6175 | 0.24918 | 12.1283 | 0.71193 | 4.9835 | 60000 | 900 | 11700 | 10000 | 81700 | 86.2844
Blackman's Seep (Pond #2) | Upper Creek Containment Pond 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 225 | 2250 | 5000 | 22250 | 0
Surge Tank | Reclaim Pond | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60000 | 900 | 9000 | 10000 | 79000 | 0
Reclaim Pond | Surge Tank | 15221786.065 | 204.5939 | - | 657.7694 | 3946.6163 | 799763.0308 | 10.7495 | 34.5597 | 2.0287 | 0 | 0 | 450 | 2700 | 5000 | 7700 | 3946.6163
East WRF Containment | Decant Pond #4 | 3784850.9846 | 31.5404 | 3359.0091 | 197.1738 | 1183.043 | 176600.6313 | 1.4717 | 156.7309 | 9.2001 | 64.4007 | 0 | 300 | 3900 | 10000 | 13900 | 1247.4437
tailings pipeline flushing | [15 empty] | 0 | 0
Mill No 1 | Tailings Impoundment Top | 5764479 | 22.2498 | 4864.6342 | [7 empty] | 285.554 |  |  |  | 285.554 | 0
Mill No 2 | Tailings Impoundment Top | 6800790 | 26.2498 | 1927.7357 | [7 empty] | 113.1581 |  |  |  | 113.1581 | 0
| Direct Annual Costs: | - | - | - | 3739.8302 | - | - | - | - | 1961.4953 | - | - | 9900 | - | - | - | -
| Direct Cost Subtotals: | - | - | - | - | 22438.9811 | - | - | - | - | 13709.4068 | 570398.7121 | - | 110100 | 145000 | 825498.7121 | 36148.3878
Pipelines
From | To | Material | Length (ft) | Inside Diameter (in) | Age Today (yr) | Age at Reclamation (yr) | Removal Year (yr) | Reclamation Replacement Year (yr) | Number of Replacements | Direct Cost New and Replacement ($/ft) | Direct Cost Removal ($/ft) | Direct Cost New and Replacement ($/ea) | Direct Cost New and Replacement ($) | Direct Cost Maintenance ($/yr) | Direct Cost Maintenance ($) | Direct Cost Removal ($) | Direct Cost ($)
SWRF Dam 1 (181-2003-Dam 1) | SWRF Dam 3 (181-2003-Dam 3) | HDPE | 4466 | 10 | 11 | 17 | 12 | - | 0 | 23.5551 | 2.7697 | 105196.9426 | 0 | 1051.9694 | 13675.6025 | 12369.4355 | 26045.0381
SWRF Dam 2 (181-2003-Dam 2) | SWRF Dam 3 (181-2003-Dam 3) | HDPE | 3300 | 10 | 11 | 17 | 12 | - | 0 | 23.5551 | 2.7697 | 77731.731 | 0 | 777.3173 | 10105.125 | 9139.977 | 19245.102
SWRF Dam 3 (181-2003-Dam 3) | Bullfrog pipeline | HDPE | 220 | 6 | 11 | 17 | 12 | - | 0 | 12.1544 | 1.6601 | 2673.979 | 0 | 26.7398 | 347.6173 | 365.2264 | 712.8437
Decant Pond #4 | Booster Pump 2 | HDPE | 100 | 15 | 20 | 26 | 12 | - | 0 | 50.3542 | 2.7697 | 5035.415 | 0 | 50.3542 | 654.604 | 276.969 | 931.573
Booster Pump 2 | Surge Tank | HDPE | 1936 | 15 | 20 | 26 | 12 | - | 0 | 50.3542 | 2.7697 | 97485.6344 | 0 | 974.8563 | 12673.1325 | 5362.1198 | 18035.2523
Decant Pond #4 | Reclaim Pond | HDPE | 5502 | 12 | 20 | 26 | 5 | - | 0 | 26.6805 | 2.7697 | 146796.111 | 0 | 1467.9611 | 8807.7667 | 15238.8344 | 24046.601
Magnetite Interceptor Trench | Magnetite Tailings Seepage Pond | HDPE | 200 | 5 | 20 | 26 | 5 | - | 0 | 12.1544 | 1.6601 | 2430.89 | 0 | 24.3089 | 145.8534 | 332.024 | 477.8774
Magnetite Seepage Pond | Decant Pond #4 | HDPE | 1188 | 4 | 20 | 26 | 12 | - | 0 | 8.4531 | 1.1858 | 10042.2353 | 0 | 100.4224 | 1305.4906 | 1408.7304 | 2714.221
Estrada Seep | Decant Pond #4 | HDPE | 3470 | 3 | 20 | 26 | 5 | - | 0 | 8.4531 | 1.1858 | 29332.1182 | 0 | 293.3212 | 1759.9271 | 4114.726 | 5874.6531
Union Hill Adit Seep | Decant Pond #4 | HDPE | 5250 | 2 | 20 | 26 | 5 | - | 0 | 8.4531 | 1.1858 | 44378.565 | 0 | 443.7857 | 2662.7139 | 6225.45 | 8888.1639
Upper Creek Containment Pond #1 | Surge Tank | HDPE | 1770 | 6 | 20 | 26 | 12 | - | 0 | 12.1544 | 1.6601 | 21513.3765 | 0 | 215.1338 | 2796.7389 | 2938.4124 | 5735.1513
Upper Creek Containment Pond #1 | Surge Tank | HDPE | 1770 | 8 | 20 | 26 | 12 | - | 0 | 15.2206 | 1.6601 | 26940.4443 | 0 | 269.4044 | 3502.2578 | 2938.4124 | 6440.6702
Grape Gulch Pond #3 | Surge Tank | HDPE | 861 | 8 | 20 | 26 | 12 | - | 0 | 15.2206 | 1.6601 | 13104.928 | 0 | 131.0493 | 1703.6406 | 1429.3633 | 3133.004
Blackman's Seep (Pond #2) | Upper Creek Containment Pond 1 | HDPE | 100 | 5 | 20 | 26 | 9 | - | 0 | 12.1544 | 1.6601 | 1215.445 | 0 | 12.1544 | 121.5445 | 166.012 | 287.5565
Surge Tank | Bullfrog pipeline * | HDPE | 31850 | 8 | 3 | 9 | 12 | - | 0 | 15.2206 | - | 484775.7915 | 0 | 4847.7579 | 63020.8529 | 0 | 63020.8529
Surge Tank | Reclaim Pond | HDPE | 3923 | 15 | 20 | 26 | 9 | - | 0 | 43.324 | 2.7697 | 169960.2481 | 0 | 1699.6025 | 16996.0248 | 10865.4939 | 27861.5187
Reclaim Pond | Surge Tank | HDPE | 3855 | 9 | 20 | 26 | 5 | - | 0 | 15.2206 | 2.7697 | 58675.3744 | 0 | 586.7537 | 3520.5225 | 10677.1549 | 14197.6774
East WRF Containment | Decant Pond #4 | HDPE | 4073 | 10 | -5 | 1 | 12 | - | 0 | 23.5551 | 2.7697 | 95939.8001 | 0 | 959.398 | 12472.174 | 11280.9474 | 23753.1214
tailings pipeline flushing
Mill No 1 | Tailings Impoundment Top | HDPE | 6850 | 21
Mill No 2 | Tailings Impoundment Top | HDPE | 6850 | 21
*Bullfrog pipeline has an Industrial PMLU | [11 empty] | Direct Annual Costs: | - | 13932.2903 | - | - | -
[12 empty] | Direct Cost Subtotals: | 0 | - | 156271.5889 | 95129.2889 | 251400.8778
Electrical Infrastructure
From | To | Line (ft) | Number of Poles | Removal Year | Direct Cost Pole and crossarm ($) | Direct Cost Wiring Installation ($) | Number Transformer Stations | Direct Cost Transformer ($) | Direct Cost Electrical Panel ($) | Direct Cost New ($) | Direct Cost Maintenance ($/yr) | Direct Cost Maintenance ($) | Direct Cost Removal ($) | Direct Cost ($)
SWRF Dam 1 (181-2003-Dam 1) | SWRF Dam 2 (181-2003-Dam 2) | 1166 | 13 | 12 | 23859.1999 | 2626.7782 | 2 | 8101.555 | 20000 | 54587.5331 | 818.813 | 10644.569 | 3138.135 | 13782.704
SWRF Dam 2 (181-2003-Dam 2) | SWRF Dam 3 (181-2003-Dam 3) | 3300 | 34 | 12 | 62400.9845 | 7434.2778 | 2 | 8101.555 | 20000 | 97936.8173 | 1469.0523 | 19097.6794 | 8207.43 | 27305.1094
SWRF Dam 3 (181-2003-Dam 3) | Road | 220 | 4 | 12 | 7341.2923 | 495.6185 | 2 | 8101.555 | 20000 | 35938.4658 | 539.077 | 7008.0008 | 965.58 | 7973.5808
Decant Pond #4 | Surge Tank | 2036 | 22 | 12 | 40377.1076 | 4586.7241 | 2 | 8101.555 | 20000 | 73065.3867 | 1095.9808 | 14247.7504 | 5310.69 | 19558.4404
Upper Creek Containment Pond #1, Grape Gulch Pond #3, and Blackman's Seep (Pond #2) | Office Area | 582 | 7 | 12 | 12847.2615 | 1311.1363 | 1 | 4050.7775 | 10000 | 28209.1753 | 423.1376 | 5500.7892 | 1689.765 | 7190.5542
Surge Tank | Upper Creek Containment Pond 1 | 1770 | 19 | 12 | 34871.1384 | 3987.4763 | 1 | 4050.7775 | 10000 | 52909.3922 | 793.6409 | 10317.3315 | 4586.505 | 14903.8365
Magnetite Tailings Seepage Pond | Decant Pond #4 | 1188 | 13 | 5 | 23859.1999 | 2676.34 | 1 | 4050.7775 | 10000 | 40586.3175 | 608.7948 | 3652.7686 | 3138.135 | 6790.9036
Estrada Seep | Road | 500 | 6 | 5 | 11011.9384 | 1126.4057 | 1 | 4050.7775 | 10000 | 26189.1217 | 392.8368 | 2357.021 | 1448.37 | 3805.3909
Union Hill Adit Seep | Road | 727 | 9 | 5 | 16517.9077 | 1637.7939 | 1 | 4050.7775 | 10000 | 32206.4791 | 483.0972 | 2898.5831 | 2172.555 | 5071.1381
East WRF Containment | Decant Pond #4 | 4582 | 47 | 12 | 86260.1844 | 10322.3821 | 1 | 4050.7775 | 10000 | 110633.344 | 1659.5002 | 21573.5021 | 11345.565 | 32919.0671
Office Area | Road | 2327 | 25 | 12 | 45883.0768 | 5242.2923 | 1 | 4050.7775 | 10000 | 65176.1466 | 977.6422 | 12709.3486 | 6034.875 | 18744.2236
[9 empty] | Direct Annual Costs: | - | 9261.5727 |  | - | -
[9 empty] | Direct Cost Subtotals: | - | - | 110007.3435 | 48037.605 | 158044.9485
Note on P32: assume double lined assume soil volume = 33% pond capacity
Note on P33: assume double lined assume soil volume = 33% pond capacity
Note on P34: assume double lined assume soil volume = 33% pond capacity
Note on H35: unknown, assumed
Note on P35: assume soil volume = 33% pond capacity
Note on P36: 250,000 gallon steel tank
Note on H37: April Tischer: assumed
Note on P37: assume double lined assume soil volume = 33% pond capacity
Note on P38: 100 $/ft for earthen dam construction, assume 200 ft, based on professional judgment, see earthwork
Note on Q45: HP divided by pump efficiency.
Note on R45: 1 HP = 745.7 Watts = .7457 kWatts
Note on S45: April Tischer: MPO stormwater basins, adjusted to match 2019 Mine Plan
Note on T45: April Tischer: Golder, April 2014 Cumulative Seep and Spring Flow Measurements, Totals for 2013.
Note on T58: April Tischer: included in Upper Creek volume
Note on L63: assuming 21" ID line flowing at 4 ft/s to move tailing
Note on L64: assuming 21" ID line flowing at 4 ft/s to move tailing
Note on G70: gal/yr * 1/(gal/min-pump * 60 min/hr) = hr/yr
Note on L70: gal/yr * 1/(gal/min-pump * 60 min/hr) = hr/yr
Note on H85: diesel pump
Note on I85: diesel pump - cost of fuel consumption
Note on F88: one time pumping rate for flushing lines
Note on H88: one time removal usage, not annual operational, see costs to right
Note on P88: electrical cost for pipeline flushing only, other costs in earthwork
Note on F89: one time pumping rate for flushing lines
Note on H89: one time removal usage, not annual operational
Note on P89: electrical cost for pipeline flushing only, other costs in earthwork

## 2 Sampling Cost
Cobre Mining Company
Water Management Worksheet #2
| Environmental Sampling, Analysis and Reporting (1) | [12 empty] | 2014-10-08
| Shipping and Analysis |  |  |  |  | Reporting
| Shipping (coolers per sample) | Shipping Cost ($/cooler) | Shipping Cost ($/sample) | Analysis ($/sample) | Analysis and Shipping Cost ($/sample) | Labor (hours/sample) | Reporting (hour/sample) | Rate ($/hour) | Review Work per Sample (hours) | Review Work Rate ($/hour) | Reporting Cost ($/sample) | Total Sample Cost ($/sample)
| 0.14286 | 70 | 10 | 230 | 240 | 1 | 0.5 | 60 | 0.1 | 70 | 100 | 340
(1) Sampling vehicles and equipment are assumed to be included in the routine duty for site personnel.
Sampling Schedule and Cost
|  | Tailings |  |  | Stockpiles |  |  | Intercept Wells |  |  |  | Sampling |  | Yearly
|  |  | Semi- |  |  | Semi- |  |  | Semi- |  | Total Well | Events | Cost | Cost
| Year | Quarterly | Annual | Annual | Quarterly | Annual | Annual | Quarterly | Annual | Annual | Locations | Per Year | ($/sample) | ($)
Quarterly Sampling Cost | 0-5 | 1 |  |  | 4 |  |  | 2 |  |  | 7 | 4 | 340 | 9520
Semi-Annual Sampling Cost | 5 - 12 |  | 1 |  |  | 4 |  |  | 2 |  | 7 | 2 | 340 | 4760
Annual Sampling Cost | 12-99 |  |  | 1 |  |  | 4 |  |  | 2 | 7 | 1 | 340 | 2380
[13 empty] | Total Cost Years 0-99 | 290360
Energy Labs Unit Rates:
23 Constituents. Energy Laboratories, Inc., 2013. Published price list (www.energylab.com).
| aluminum | 10
| arsenic | 10
| bicarbonate | 10
| cadmium | 10
| calcium | 10
| carbonate | 10
| chloride | 0 | included w/ bicarbonate
| chromium | 10
| cobalt | 10
| copper | 10
| fluoride | 10
| iron | 5 | $10/2 only need to sample twice per year as opposed to each quarter
| lead | 15
| magnesium | 10
| manganese | 10
| nickel | 10
| nitrate | 10
| potassium | 10
| selenium | 10
| sodium | 10
| sulfate | 10
| total dissolved solids | 20
| zinc | 10
230

## 3 WM cash flow
Cobre Mining Company
Water Management Worksheet #3
Water Management Cash Flow | [16 empty] | 2014-10-08
|  |  |  | Capital Indirect Costs Percentage | 28.3%
|  |  |  | O&M Indirect Costs Percentage | 17%
|  |  |  | Electricity, Fuel, and Environmental Sampling Indirect Costs Percentage | 0%
PONDS & TANKS |  |  | PUMPS |  |  |  |  | PIPELINES |  |  |  | ELECTRICAL INFRASTRUCTURE |  |  | ENVIROMENTAL SAMPLING
| Capital | O&M |  | Capital | Removal | Electricity and Fuel | O&M |  | Capital | Removal | Maintenance |  | Removal | Maintenance |  |  | Total
| Annual | Annual |  | Annual | Annual | Annual | Annual |  | Annual | Annual | Annual |  | Annual | Annual |  | Annual | Cash
| Cost | Cost |  | Cost | Cost | Cost | Cost |  | Cost | Cost | Cost |  | Cost | Cost |  | Cost | Flow
Year |  | ($) | Year |  |  | ($) | ($) | Year |  |  | ($) | Year |  | ($) | Year | ($) | ($)
0 | 664084.4474 | 16726.568 | 0 | 436731.5476 | 0 | 3739.8302 | 11583 | 0 | 0 | 0 | 16300.7796 | 0 | 0 | 10836.04 | 0 | 9520 | 1169522.213
1 | 0 | 16726.568 | 1 | 0 | 0 | 3739.8302 | 11583 | 1 | 0 | 0 | 16300.7796 | 1 | 0 | 10836.04 | 1 | 9520 | 68706.2179
2 | 0 | 16726.568 | 2 | 0 | 0 | 3739.8302 | 11583 | 2 | 0 | 0 | 16300.7796 | 2 | 0 | 10836.04 | 2 | 9520 | 68706.2179
3 | 0 | 16726.568 | 3 | 218110 | 0 | 3739.8302 | 11583 | 3 | 0 | 0 | 16300.7796 | 3 | 0 | 10836.04 | 3 | 9520 | 286816.2179
4 | 0 | 16726.568 | 4 | 0 | 0 | 3739.8302 | 11583 | 4 | 0 | 0 | 16300.7796 | 4 | 0 | 10836.04 | 4 | 9520 | 68706.2179
5 | 0 | 16726.568 | 5 | 0 | 51320 | 3739.8302 | 11583 | 5 | 0 | 46942.6469 | 16300.7796 | 5 | 8671.874 | 10836.04 | 5 | 4760 | 170880.7388
6 | 0 | 16726.568 | 6 | 0 | 0 | 1958.4867 | 9038.25 | 6 | 0 | 0 | 13005.9069 | 6 | 0 | 9098.9074 | 6 | 4760 | 54588.1189
7 | 0 | 16726.568 | 7 | 0 | 0 | 1958.4867 | 9038.25 | 7 | 0 | 0 | 13005.9069 | 7 | 0 | 9098.9074 | 7 | 4760 | 54588.1189
8 | 0 | 16726.568 | 8 | 76980 | 0 | 1958.4867 | 9038.25 | 8 | 0 | 0 | 13005.9069 | 8 | 0 | 9098.9074 | 8 | 4760 | 131568.1189
9 | 160695.3369 | 16726.568 | 9 | 0 | 19245 | 1958.4867 | 9038.25 | 9 | 0 | 14153.422 | 13005.9069 | 9 | 0 | 9098.9074 | 9 | 4760 | 248681.8779
10 | 0 | 16723.3133 | 10 | 0 | 0 | 1958.4867 | 7722 | 10 | 0 | 0 | 11003.1512 | 10 | 0 | 9098.9074 | 10 | 4760 | 51265.8586
11 | 0 | 16723.3133 | 11 | 0 | 0 | 1958.4867 | 7722 | 11 | 0 | 0 | 11003.1512 | 11 | 0 | 9098.9074 | 11 | 4760 | 51265.8586
12 | 0 | 16723.3133 | 12 | 0 | 115470 | 1958.4867 | 7722 | 12 | 0 | 60954.8087 | 11003.1512 | 12 | 52960.3732 | 9098.9074 | 12 | 2380 | 278271.0405
13 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 13 | 0 | 0 | 13 | 2380 | 2380
14 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 14 | 0 | 0 | 14 | 2380 | 2380
15 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 15 | 0 | 0 | 15 | 2380 | 2380
16 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 16 | 0 | 0 | 16 | 2380 | 2380
17 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 17 | 0 | 0 | 17 | 2380 | 2380
18 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 18 | 0 | 0 | 18 | 2380 | 2380
19 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 19 | 0 | 0 | 19 | 2380 | 2380
20 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 20 | 0 | 0 | 20 | 2380 | 2380
21 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 21 | 0 | 0 | 21 | 2380 | 2380
22 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 22 | 0 | 0 | 22 | 2380 | 2380
23 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 23 | 0 | 0 | 23 | 2380 | 2380
24 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 24 | 0 | 0 | 24 | 2380 | 2380
25 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 25 | 0 | 0 | 25 | 2380 | 2380
26 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 26 | 0 | 0 | 26 | 2380 | 2380
27 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 27 | 0 | 0 | 27 | 2380 | 2380
28 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 28 | 0 | 0 | 28 | 2380 | 2380
29 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 29 | 0 | 0 | 29 | 2380 | 2380
30 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 30 | 0 | 0 | 30 | 2380 | 2380
31 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 31 | 0 | 0 | 31 | 2380 | 2380
32 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 32 | 0 | 0 | 32 | 2380 | 2380
33 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 33 | 0 | 0 | 33 | 2380 | 2380
34 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 34 | 0 | 0 | 34 | 2380 | 2380
35 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 35 | 0 | 0 | 35 | 2380 | 2380
36 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 36 | 0 | 0 | 36 | 2380 | 2380
37 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 37 | 0 | 0 | 37 | 2380 | 2380
38 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 38 | 0 | 0 | 38 | 2380 | 2380
39 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 39 | 0 | 0 | 39 | 2380 | 2380
40 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 40 | 0 | 0 | 40 | 2380 | 2380
41 | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 41 | 0 | 0 | 0 | 41 | 0 | 0 | 41 | 2380 | 2380
42 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 42 | 0 | 0 | 42 | 2380 | 2380
43 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 43 | 0 | 0 | 43 | 2380 | 2380
44 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 44 | 0 | 0 | 44 | 2380 | 2380
45 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 45 | 0 | 0 | 45 | 2380 | 2380
46 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 46 | 0 | 0 | 46 | 2380 | 2380
47 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 47 | 0 | 0 | 47 | 2380 | 2380
48 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 48 | 0 | 0 | 48 | 2380 | 2380
49 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 49 | 0 | 0 | 0 | 49 | 0 | 0 | 49 | 2380 | 2380
50 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 0 | 50 | 2380 | 2380
51 | 0 | 0 | 51 | 0 | 0 | 0 | 0 | 51 | 0 | 0 | 0 | 51 | 0 | 0 | 51 | 2380 | 2380
52 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 52 | 0 | 0 | 52 | 2380 | 2380
53 | 0 | 0 | 53 | 0 | 0 | 0 | 0 | 53 | 0 | 0 | 0 | 53 | 0 | 0 | 53 | 2380 | 2380
54 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 54 | 0 | 0 | 54 | 2380 | 2380
55 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 55 | 0 | 0 | 55 | 2380 | 2380
56 | 0 | 0 | 56 | 0 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | 56 | 0 | 0 | 56 | 2380 | 2380
57 | 0 | 0 | 57 | 0 | 0 | 0 | 0 | 57 | 0 | 0 | 0 | 57 | 0 | 0 | 57 | 2380 | 2380
58 | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 58 | 0 | 0 | 0 | 58 | 0 | 0 | 58 | 2380 | 2380
59 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 59 | 0 | 0 | 59 | 2380 | 2380
60 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60 | 0 | 0 | 60 | 2380 | 2380
61 | 0 | 0 | 61 | 0 | 0 | 0 | 0 | 61 | 0 | 0 | 0 | 61 | 0 | 0 | 61 | 2380 | 2380
62 | 0 | 0 | 62 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 0 | 62 | 0 | 0 | 62 | 2380 | 2380
63 | 0 | 0 | 63 | 0 | 0 | 0 | 0 | 63 | 0 | 0 | 0 | 63 | 0 | 0 | 63 | 2380 | 2380
64 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 64 | 0 | 0 | 64 | 2380 | 2380
65 | 0 | 0 | 65 | 0 | 0 | 0 | 0 | 65 | 0 | 0 | 0 | 65 | 0 | 0 | 65 | 2380 | 2380
66 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 66 | 0 | 0 | 66 | 2380 | 2380
67 | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 67 | 0 | 0 | 0 | 67 | 0 | 0 | 67 | 2380 | 2380
68 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 68 | 0 | 0 | 68 | 2380 | 2380
69 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 69 | 0 | 0 | 69 | 2380 | 2380
70 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 70 | 0 | 0 | 70 | 2380 | 2380
71 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 71 | 0 | 0 | 71 | 2380 | 2380
72 | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 72 | 0 | 0 | 0 | 72 | 0 | 0 | 72 | 2380 | 2380
73 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 73 | 0 | 0 | 0 | 73 | 0 | 0 | 73 | 2380 | 2380
74 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 74 | 0 | 0 | 74 | 2380 | 2380
75 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 75 | 0 | 0 | 75 | 2380 | 2380
76 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 0 | 76 | 0 | 0 | 76 | 2380 | 2380
77 | 0 | 0 | 77 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 0 | 77 | 0 | 0 | 77 | 2380 | 2380
78 | 0 | 0 | 78 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 0 | 78 | 0 | 0 | 78 | 2380 | 2380
79 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 79 | 0 | 0 | 79 | 2380 | 2380
80 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 80 | 0 | 0 | 80 | 2380 | 2380
81 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 0 | 81 | 0 | 0 | 81 | 2380 | 2380
82 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 82 | 0 | 0 | 82 | 2380 | 2380
83 | 0 | 0 | 83 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 0 | 83 | 0 | 0 | 83 | 2380 | 2380
84 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 84 | 0 | 0 | 0 | 84 | 0 | 0 | 84 | 2380 | 2380
85 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 85 | 0 | 0 | 85 | 2380 | 2380
86 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 86 | 0 | 0 | 86 | 2380 | 2380
87 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 87 | 0 | 0 | 87 | 2380 | 2380
88 | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 0 | 88 | 0 | 0 | 88 | 2380 | 2380
89 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 0 | 89 | 0 | 0 | 89 | 2380 | 2380
90 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 0 | 90 | 0 | 0 | 90 | 2380 | 2380
91 | 0 | 0 | 91 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 0 | 91 | 0 | 0 | 91 | 2380 | 2380
92 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 0 | 92 | 0 | 0 | 92 | 2380 | 2380
93 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 0 | 93 | 0 | 0 | 93 | 2380 | 2380
94 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 0 | 94 | 0 | 0 | 94 | 2380 | 2380
95 | 0 | 0 | 95 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 0 | 95 | 0 | 0 | 95 | 2380 | 2380
96 | 0 | 0 | 96 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 0 | 96 | 0 | 0 | 96 | 2380 | 2380
97 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 0 | 97 | 0 | 0 | 97 | 2380 | 2380
98 | 0 | 0 | 98 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 0 | 98 | 0 | 0 | 98 | 2380 | 2380
99 | 0 | 0 | 99 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 0 | 99 | 0 | 0 | 99 | 2380 | 2380
Total Cost | 824779.7843 | 217435.6202 |  | 731821.5476 | 186035 | 36148.3878 | 128817 |  | 0 | 122050.8776 | 182837.7591 |  | 61632.2472 | 128708.5919 |  | 290360 | 2910626.8158
Total Direct Cost | 642852.5209 | 185842.4104 |  | 570398.7121 | 145000 | 36148.3878 | 110100 |  | 0 | 95129.2889 | 156271.5889 |  | 48037.605 | 110007.3435 |  | 290360 | -
| Total Cost | 2910626.8158
| Total Direct Cost | 2390147.8576
Q/A | 0 |  |  | 0 |  |  |  |  | 0 |  |  |  | 0 |  |  | 0

## 4 Summary
Cobre Mining Company
Water Management Worksheet #4
Water Management Summary |  |  |  | 2014-10-08
Cobre Mining Company
Based on Projected 2019 Mine Plan |  |  | Current Value
DIRECT COSTS
| Capital |  | 1501419
| Operations and Maintenance |  | 562221
Capital
INDIRECT COSTS1 | Mobilization and Demobilization | 3.8% | 57053.922
| Contingencies | 4% | 60056.76
| Engineering Redesign Fee | 2.5% | 37535.475
| Contractor Profit and Overhead | 15% | 225212.85
| Project Management Fee | 3% | 45042.57
| State Procurement Cost | 0% | 0
| Indirect Percentage Sum = | 28.3%
| Subtotal, Indirect Costs |  | 424901.577
Operations and Maintenance
INDIRECT COSTS1 | Mobilization and Demobilization | 0% | 0
| Contingencies | 4% | 22488.84
| Engineering Redesign Fee | 0% | 0
| Contractor Profit and Overhead | 10% | 56222.1
| Project Management Fee | 3% | 16866.63
| State Procurement Cost | 0% | 0
| Indirect Percentage Sum = | 17%
| Subtotal, Indirect Costs |  | 95577.57
ELECTRICITY, FUEL, AND SAMPLING |  |  | 326508
TOTAL COST |  |  | 2910627.147
Data Sources:
MMD. 1996. Closeout Plan Guidelines for Existing Mines, Mining Act Reclamation Bureau Mining and Minerals Division
New Mexico Energy, Minerals and Natural Resources Department. April 30, 1996.
OSM. 2000. U.S. Department of the Interior, Office of Surface Mining Reclamation and Enforcement
Handbook for Calculation of Reclamation Bond Amounts. April 5, 2000.
Notes:
1) | Indirect costs are based on the guidance available from MMD (1996) and OSM (2000).

## Unit Cost Table
Water Treatment Unit Costs
Activity | Base1 | Units | Scaled Cost | Means | Means | Reference
| Unit Cost $/unit |  | Las Cruces 84.7%2 | Line Item | Page
Utility Pole Demo | 199.5 | ea | 168.9765 | 024113.80 0100 | 36 | Selective Demo, utility poles, wood, 20'-30' high
Cross Arm Demo | 85.5 | ea | 72.4185 | 024113.80 0300 | 36 | Selective Demo, cross arms, wood, 4'-6' long
Wood Electrical Utility Poles a.) | 601 | ea | 509.047 | 337116.33 6020 | 376 | Wood, class 1 type C, CCA/ACA-treated, 30' high, excludes excavation, backfill and cast-in-place concrete
Utility Pole Installation b.) | 1245 | ea | 1054.515 | 337116.23 6010 | 376 | Digging holes in rock
Utility Pole Installation c.) | 1.8513 | ea | 1.5681 | 337116.33 9000 | 376 | Disposal of pole and hardware surplus material, assumes 100 feet of wire per pole
Utility Pole Installation d.) | 319 | ea | 270.193 | 337116.33 7600 | 376 | Cross arms 4' long, includes hardware and insulators
Electrical Wiring Installation a.) | 575 | wire mi | 487.025 | 337139.13 0110 | 380 | Material handling and spotting-conductors, primary circuits
Electrical Wiring Installation b.) | 13175 | wire mi | 11159.225 | 337139.13 0150 | 380 | Conductors, per wire, 210-636 kcmil
Electrical Wiring Installation c.) | 293.5 | wire mi | 248.5945 | 337139.13 0810 | 380 | Disposal of surplus material, high voltage conductors
Potential Transformers | 4782.5 | ea | 4050.7775 | 337126.26 4100 | 380 | 13 to 26 kV
Pipe Removal | 1.4 | lf | 1.1858 | 024113.38-1600 | 29 | Site Demo, pipe removal, sewer/water no excavation, plastic pipe, 3/4''-4'' diameter
Pipe Removal | 1.96 | lf | 1.6601 | 024113.38-1700 | 29 | Site Demo, pipe removal, sewer/water no excavation, plastic pipe, 6''-8'' diameter
Pipe Removal | 3.27 | lf | 2.7697 | 024113.38-1800 | 29 | Site Demo, pipe removal, sewer/water no excavation, plastic pipe, 10''-18'' diameter
Excavation of Soil | 5.3064 | cy | 4.4945 | G1030120 1600 | 474 | 3/4 C.Y. backhoe, three 8 C.Y. dump trucks, 1 mi round trip. This value removes the overhead and profit (34% based on RS Means Crews O&P markup)
Reservoir Liners HDPE | 2.58 | sf | 2.1853 | 334713.53 1200 | 365 | Membrane lining, 2X60 mil thick
Small Concrete Dam | 82000 | ea | 69454 | 323213.10 3100 | 321 | Assume similar to 10' high 33 degree slope concrete retaining wall, cast concrete reinforced concrete cantilever, including excavation, backfill & reinforced.
Water Treatment Tank | 202000 | ea | 171094 | 331613.13 1000 | 351 | 250,000 gallon steel tank, not including foundation., height/diameter Less than 1
Pump | 10000 | ea | - | - | - | Professional Judgment 15 to 30 gpm - includes pump control, control panel, installation, and flow meter.
Pump | 15000 | ea | - | - | - | Professional Judgment 50 gpm - includes pump control, control panel, installation, and flow meter.
Pump | 25000 | ea | - | - | - | Professional Judgment 100 to 700 gpm - includes pump control, control panel, installation, and flow meter.
Pump | 30000 | ea | - | - | - | Professional Judgment 800 to 2000 gpm - includes pump control, control panel, installation, and flow meter.
Water Supply Piping | 9.98 | lf | 8.4531 | 331113.35 0100 | 345 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 4'' diameter
Water Supply Piping | 14.35 | lf | 12.1544 | 331113.35 0200 | 345 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 6'' diameter
Water Supply Piping | 17.97 | lf | 15.2206 | 331113.35 0300 | 345 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 8'' diameter
Water Supply Piping | 27.81 | lf | 23.5551 | 331113.35 0400 | 345 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 10'' diameter
Water Supply Piping | 31.5 | lf | 26.6805 | 331113.35 0500 | 346 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 12'' diameter
Water Supply Piping | 51.15 | lf | 43.324 | 331113.35 0600 | 346 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 14'' diameter
Water Supply Piping | 59.45 | lf | 50.3542 | 331113.35 0700 | 346 | Butt fusion joints, SDR 21, HDPE 40' lengths not including excavation or backfill, 16'' diameter
Facility Water Distribution Piping | 199.65 | lf | 169.1036 | 221113.48 1780 and 1210 | 168 | Steel Pipe Schedule 40, black 24'' diameter (221113.48 1210) without coupling and hanger
Electric Rate | 0.0587 | kWh | - | - | - | Industrial rate date looked up 9/11/2014 ( http://www.electricitylocal.com/states/new-mexico/silver-city/)
Pump Removal Cost | 5000 | ea | - | - | - | Engineering Judgment
Electric Panel Cost | 10000 | ea | - | - | - | Engineering Judgment
Diesel Fuel Cost ($/gall) | 3.215 | gal | - | - | - | Western Refining Quote, Lordsburg NM (June 18, 2014).
Environmental Sampler | 60 | hr | - | - | - | Engineering Judgment
Environmental Sampling Reviewer | 70 | hr | - | - | - | Engineering Judgment
Environmental Sampling | 230 | sample | - | - | - | 23 Constituents. Energy Laboratories, Inc., 2013. Published price list (www.energylab.com).
Shipping Environmental Sampling | 70 | cooler | - | - | - | Energy Labs prepaid shipping Overnight UPS or FedEx $70 for a 10 lb. package 30”x18”x18” Silver City, NM to any Energy Labs location; Quote 11/26/2013.
Description Notes:
1) Overhead and Profit are added in with the indirect costs.
2) City Cost Index Las Cruces-Total 84.7% (weighted average) R.S. Means Heavy Construction Cost Data, 28th Annual Edition, 2014, pg. 594.

## Summary Table
Water Management Summary
Item | Subtotal, Direct Costs | Subtotal, Indirect Costs | Total Estimated Cost
Capital and Replacement |  | 28.3%
Ponds and Tanks | 642853 | 181927.399 | 824780.399
Pumps | 570399 | 161422.917 | 731821.917
Pipelines | 0 | 0 | 0
Electrical | 0 | 0 | 0
Subtotal | 1213252 | 343350.316 | 1556602.316
Removal1 |  | 28.3%
Pumps | 145000 | 41035 | 186035
Pipelines | 95129 | 26922 | 122051
Electrical | 48038 | 13595 | 61633
Subtotal | 288167 | 81552 | 369719
Operations and Maintenance |  | 17%
Ponds and Tanks | 185842 | 31593 | 217435
Pumps | 110100 | 18717 | 128817
Pipelines | 156272 | 26566 | 182838
Electrical Infrastructure | 110007 | 18701 | 128708
Materials |  | 0%
Electricity and Fuel | 36148 | 0 | 36148
Environmental Sampling | 290360 | 0 | 290360
Subtotal | 888729 | 95577 | 984306
Total Estimated Cost | 2390000 | 520000 | 2911000
1Removal costs for ponds and tanks is included in the earthwork portion of the cost estimate.